## Slide 1
RetinaScope
AI-Based Retinal Vessel Segmentation &
Diabetic Retinopathy Detection
Aymen Slimani
3rd Year Software Engineering
TEAM Project
Retinohelpers
github.com/AYMENsl25/Retinal-dr-detection
0.8425
Vessel Dice
0.9598
Grading QWK
9
Architectures
40k
Grading Images

## Slide 2
The Problem
Clinical Motivation
7M
Diabetic patients
in Turkey
25–35%
Will develop
Diabetic Retinopathy
#1
Cause of preventable
blindness (working-age)
Ophthalmologists are concentrated in urban centers.
Rural patients have NO access to screening. By the time they notice vision loss, DR is already at Grade 3–4 — requiring laser surgery or vitreoretinal surgery.
An AI-powered offline screening tool can shift detection to Grade 0–1, preventing blindness.
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Problem

## Slide 3
Our Solution: RetinaScope-AI v2
Two-stage deep learning pipeline for automated DR screening
Vessel Map
Binary segmentation of all retinal vessels
Lesion Maps
MA, HE, EX, OD — 4 pathological classes
DR Grade 0–4
Severity grading via 9-channel classifier
GradCAM++
Explainability heatmap for clinical trust
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Solution Overview

## Slide 4
Dataset: dr-stage1-unified-v2
4 sources unified — published on Kaggle (CC BY 4.0)
Source | Images | Mask Type
RETINOMIX-5 | 233 | Vessel
Vessel Combined | 73 | Vessel
IDRiD Part A | 81 | Lesion (5 types)
MAPLES-DR | 198 | Vessel + Lesion
TOTAL | 585 | 504 vessel / 1,632 lesion
585
Total Images
504
Vessel Masks
1,632
Lesion Masks
4
Source Datasets
🔗 kaggle.com/aymenslimani/dr-stage1-unified-v2
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Dataset

## Slide 5
Preprocessing Pipeline
Standardized across all camera sources
Original → Preprocessed (512×512)
01
Resize to 512×512
Standardize spatial dims across all datasets
02
CLAHE Enhancement
Contrast Limited Adaptive Histogram Equalization
03
ROI Circular Mask
Remove black vignette borders
04
ImageNet Normalize
mean=[0.485,0.456,0.406] std=[0.229,0.224,0.225]
⚠ Green Channel Injection ablation: mixed results (±0.003 Dice) — RGB retained as standard
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Preprocessing

## Slide 6
Stage 1: Vessel Segmentation — 9 Architecture Benchmark
Identical CFG across all models — fair, controlled comparison
Architecture | Category | Dice ↑ | AUC-ROC ↑
U-Net (ResNet34) | CNN Baseline | 0.7924 | 0.9751
U-Net++ | CNN Baseline | 0.7922 | 0.9712
Attention U-Net ★ TEACHER | Advanced CNN | 0.8200 | 0.9801
CS-Net | Advanced CNN | 0.8156 | 0.9825
FSG-Net | Advanced CNN | 0.7885 | 0.9701
Swin-UNet | Transformer | 0.7925 | 0.9740
TransUNet ★ STUDENT (KD) | CNN+Transformer | 0.8423 | 0.9852
🏆 Ensemble (Final) | Att×0.4+Trans×0.4+CS×0.2 | 0.8425 | 0.9858
Why Controlled?
Same optimizer, LR, loss, augmentation & data split
across all 9 models.
Performance differences = Architecture only
0.8200
Teacher
(Att.UNet)
0.8423
Student
(TransUNet)
0.8425
Final Ensemble Dice
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Stage 1 — Benchmark

## Slide 7
Teacher-Student Knowledge Distillation
Soft-label supervision from CNN teacher → Transformer student
KD Loss Formula
L = 0.6×(Dice+BCE)
+ 0.3×KD_MSE
+ 0.1×Aux
Dice Improvement
Teacher (Att.UNet)
0.8200
Student (no KD)
0.7891
Student (with KD)
0.8423
Ensemble
0.8425
+0.0223 gain
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Teacher-Student KD

## Slide 8
Vessel Segmentation — Qualitative Results
TransUNet (Student) prediction on test sample
TransUNet (Student) | Dice = 0.8349 | Sensitivity = 0.8678 | Vessel pixels: 12.28%
0.8425
Dice
0.7315
IoU
0.9858
AUC-ROC
0.8695
Sensitivity

## Slide 9
Final MTKD Student — Test Results
MTKD Results
0.8425
Dice
0.7315
IoU
0.9736
AUC-ROC
0.8868
AUC-PR
0.9858
Specificity
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
MTKD Test Results

## Slide 10
Stage 1: Lesion Segmentation — 4-Class
Per-channel weighted loss to handle extreme pixel imbalance
Channel Weights
MA (Microaneurysms)
Weight: × 3.0
Dice: 0.453
HE (Haemorrhages)
Weight: × 2.5
Dice: 0.553
EX (Exudates)
Weight: × 1.5
Dice: 0.556
OD (Optic Disc)
Weight: × 0.5
Dice: 0.953
9-Channel Input Visualization: Red / Green / Blue / Vessel Mask / Microaneurysms / Hemorrhages (True: Grade 3 | Pred: Grade 3)
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Lesion Segmentation

## Slide 11
Stage 2: 9-Channel DR Grading Classification
First-Conv Surgery: in_channels 3 → 9, ImageNet weights preserved
0.9598
QWK (primary)
0.9883
AUC macro
0.9274
F1 macro
0.9488
Accuracy
First-Conv Surgery: Copy RGB weights to ch 0-2
Init ch 3-8 with mean(RGB weights)
9 Channels = RGB(3) + Vessel(1) + MA(1) + HE(1) + EX(1) + OD(1) + Spare(1)
ConvNeXt-Base | QWK=0.9598 | AUC=0.9883 | F1=0.9274 | Acc=0.9488
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Stage 2 — Grading

## Slide 12
Live Demo — RetinaScope-AI Web Application
FastAPI + React
Grade 2 — Moderate NPDR
ICDR Grade + confidence 45%
Per-Grade Probabilities
Full softmax distribution shown
Vessel & Damage Panels
5-panel visualization + zoom crops
MC Dropout σ = 0.050
Uncertainty quantification built-in
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Live Demo

## Slide 13
Results Summary
All targets met or exceeded
Objective | Target | Achieved | Status
Vessel Dice | ≥ 0.80 | 0.8425 | ✅ Exceeded
Vessel AUC-ROC | ≥ 0.97 | 0.9858 | ✅ Exceeded
Teacher→Student KD gain | > 0 | +0.0223 | ✅ Confirmed
Lesion Mean Dice (4-class) | ≥ 0.55 | 0.579 | ✅ Exceeded
Grading QWK (ConvNeXt) | ≥ 0.80 | 0.9598 | ✅ Achieved
Grading AUC macro | ≥ 0.95 | 0.9883 | ✅ Exceeded
FastAPI end-to-end verified | Pass | All 6 models loaded | ✅ Verified
Green Channel Ablation | Document | Mixed ±0.003 | ✅ Completed
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Results Summary

## Slide 14
Deployment
Currently live — Edge deployment as next milestone
✅ LIVE NOW — Web Application
✓ FastAPI backend — REST API
✓ React frontend — Clinical UI
✓ Full pipeline: Vessel + Lesion + Grade
✓ GradCAM++ explainability heatmap
✓ MC Dropout uncertainty score
✓ PDF clinical report export
✓ Gemini Flash LLM explanation
✓ No specialist required
🗓️ FUTURE — Jetson Nano Edge Device
NVIDIA Jetson Nano (4GB)
Edge inference — fully offline
Portable Fundus Camera
EE sub-team — $200–500 vs $30k
TensorRT INT8 Quantization
Target: < 2s inference/image
No internet required
Rural clinic deployment ready
Qt touchscreen interface
7-inch display with grade + heatmap
[ Jetson Nano + Portable Camera screenshot to be added ]
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Deployment

## Slide 15
Future Work
Three directions — short / mid / long term
Short Term
Complete grading: EfficientNet-B4 + ViT-Base/16 training runs
Cross-dataset validation on IDRiD Part B holdout (516 images)
GradCAM++ validation with ophthalmology reviewer
Mid Term
Lesion improvement: Tversky loss + patch training → target Dice > 0.67
Per-channel threshold optimization (free +1–3% Dice)
Test-Time Augmentation (8× geometric) → +2–4% Dice
Long Term
Jetson Nano: TensorRT INT8 → sub-2s inference + portable camera integration
Phase B custom arch: BiFormer + EMCAD + DDSP → target Dice > 0.85
Research paper submission (IEEE Trans. Medical Imaging)
RetinaScope-AI v2 · Aymen Slimani · TÜBİTAK
Future Work

## Slide 16
Thank You
Questions?
Key Contributions
▸ Unified public dataset (585 images, CC BY 4.0)
▸ Teacher-Student KD: Dice 0.8200 → 0.8423 (+0.0223)
▸ 9-architecture controlled benchmark
▸ 9-channel grading: QWK=0.9598, AUC=0.9883
▸ Deployed FastAPI + React web application
Links & Resources
GitHub:
github.com/AYMENsl25/
Retinal-dr-detection
Dataset:
kaggle.com/aymenslimani/
dr-stage1-unified-v2
Best Model:
MTKD Ensemble
Dice = 0.8425
Grading:
ConvNeXt-Base
QWK = 0.9598
Aymen Slimani · Software Engineering · Istanbul University-Cerrahpasa · 2026